# Section objectives: Cervical Spine Series

At the conclusion of this course the student doctor should;

- Be able to efficiently conduct all parts of a 3, 5, or 7 view cervical spine series and ancillary views including determining the cassette size and orientation, setting of technical factors, patient positioning, placement of filters/shields, and giving patient instructions.

- Be able to identify the significant anatomy demonstrated on each view of the series.

# Standard Cervical Spine Series

3 View Cervical Series

- A-P lower cervical

- A-P open mouth

- Neutral lateral

# 5 View Cervical Series

- A-P lower cervical

- A-P open mouth

- Neutral lateral

- R & L oblique (anterior or posterior)

7 View Cervical Series (Davis series)

- A-P lower cervical

- A-P open mouth

- Neutral lateral

- R&L oblique (anterior or posterior)

- Flexion lateral

- Extension lateral

# Optional Cervical Spine Views

- Swimmer’s lateral (Cervicothoracic spot)

- R & L pillar views

# Organizing the Series

Make the series flow with least motion and most time efficiency.

Perform 40" first: APLC and APOM.

Perform 72" last: Neutral lateral, R/L obliques, flex/ext.

# Special Considerations

Trauma series:	 Perform neutral lateral first and check it.

APLC 2nd, APOM 3rd and check each.

Then obliques.

Finish flex/ext only if 50% of normal motion is present.

If any fractures/dislocations, refer for neurologic or orthopedic evaluation.

# A-P Lower Cervical (APLC)

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (flash up, away from lung apices)

Tube:		40( FFD, 15º cephalad tube tilt (varies according to patient)

Technique:	70 kVp, small focal spot

Measure:	through central ray at appropriate angle

If patient measures < 12 cm do not use grid, (non-bucky)

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient can be seated or standing (less motion if seated)

Have patient extend neck so that the mandible and EOP are parallel to

the floor.

Central ray:	Aim at C6 (bottom of thyroid cartilage) and center film to central ray.

(Note the angle)

Collimation:	Top of collimation at bottom of mandible, bottom include apices of lungs. Side-to-side soft tissue.

Marker:	R or L.

# EXPOSURE

# Patient directions: “Hold still, don’t move” – expose.

# EVALUATION CRITERIA: APLC

- C3 to T1 should be clearly visualized.

- No rotation, spinous processes should be equidistant from spinal borders.

- Intervertebral disc angles should be open indicating correct central ray angle.

- Optimum exposure should demonstrate both bone and soft tissue density.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# A-P Open Mouth (APOM)

# PREPARE THE ROOM

# Cassette:	black, 8( x 10(, crosswise

Tube:		40( FFD, no tube tilt

Technique:	70 kVp, small focal spot

Measure:	Use APLC measurement + 3 cm, increased technique due to strict

Collimation.

If patient measures < 12 cm do not use grid, (non-bucky)

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, false teeth or dental appliances, etc.

Patient can be seated or standing (less motion if seated)

Have patient slightly extend head so that the bottom of the top teeth are level with the EOP (parallel to the floor)

Hold the patient’s head so that they do not flex or extend and ask them to open their mouth wide by dropping their lower jaw.

Central ray:	Should pass just below the top teeth in midline (aim at uvula), center the cassette to the central ray.

Collimation:	Open to the acanthion and mental symphysis vertically, laterally to include mastoid processes. (~ 4" x 4")

Marker:	R or L.

# EXPOSURE

# Patient directions: “Hold still, don’t move” – expose.

# EVALUATION CRITERIA: APOM

- The atlas and axis must be clearly seen through the open mouth.

- C1/2 zygapophyseal joints should be clearly demonstrated.

- Optimum position is achieved if the base of the occiput and bottom of the maxillary incisors are superimposed.

- Optimum exposure should demonstrate both bone and soft tissue density.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# Neutral Lateral Cervical

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (tall, flash down)

Tube:		72( FFD, no tube tilt

Technique:	70 kVp, small focal spot

Measure:	Across the trapezius muscle at the base of the neck

If patient measures < 12 cm do not use grid, (non-bucky)

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient can be seated or standing (less motion if seated)

Assure a true lateral position with no rotation of the pelvis, shoulders,

or head.

Patient is seated or standing “with good posture”, left shoulder touching bucky (if used), and eyes directly forward.

Have patient relax shoulders and drop them as far as possible (do just before exposure because this is difficult to maintain).

Central ray:	Through C4 with film centered to this.

Collimation:	Laterally to soft tissues and film size vertically.

Marker:	L, above the shoulder but below the mandible.

# EXPOSURE

Patient directions: “Take a breath in, now blow it out.  Hold still, don’t move” – expose.

- Suspended expiration helps keep shoulders depressed.

# EVALUATION CRITERIA: Neutral Lateral Cervical

- C1 through C7 should be entirely visualized (if C7 is not seen, must add cervicothoracic spot view to series).

- Mandibular rami should be superimposed over each other but not over upper cervicals.

- Optimum exposure should demonstrate soft tissue including margins of the air column, as well as proper bone density of the entire cervical vertebrae.

- Do not put flash down if concerned with spinous process fracture.

- If flash up, do not obscure ADI.

- 10" x 12" film (tall) can be used to include sella turcica in patients with apparent spondylogenic headaches or visual disturbances.

- Patient identification and L marker should be clearly visible without blocking anatomy.

# R or L Posterior Oblique

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (tall, flash down)

Tube:		72( FFD, 15º cephalad tube tilt

Technique:	70 kVp, small focal spot

Measure:	Obliquely across the trapezius muscle at the base of the neck

If patient measures < 12 cm do not use grid, (non-bucky)

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, etc.

Erect position (preferred) or recumbent if required.

Center spine to midline of table or bucky.

Patient is angled at 45º with appropriate shoulder touching bucky.

Head is turned midpoint between looking straight ahead and parallel to bucky (67.5º angle from tube).

Central ray:	Through C4 with film centered to this (remember tube tilt).

Collimation:	Laterally to soft tissues and film size vertically.

Marker:	RPO or LPO are ideal markers.

R or L placed on appropriate side above the shoulder but below the mandible (will appear on film to be ahead, anterior, of the spine).

# EXPOSURE

# Patient directions: “Take a breath in, now blow it out.  Hold still, don’t move” – expose.

EVALUATION CRITERIA: Posterior Obliques.

- C1 through C7 should be clearly visualized with open intervertebral spaces and open intervertebral disc spaces.

- Rami of mandible should not superimpose upper cervical vertebrae.

- Base of skull should not superimpose C1.

- RPO shows left foramina, LPO shows right foramina.

- Optimum exposure should demonstrate soft tissue including margins of the air column, as well as proper bone density of the entire cervical vertebrae.

- Patient identification and proper marker should be clearly visible without blocking anatomy.

# Note: Anterior oblique views demonstrate ipsilateral foramina.  Tube tilt is 15º caudad for

anterior oblique imaging.

# Cervical Flexion Lateral

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, crosswise (wide, flash up)

Tube:		72( FFD, no tube tilt

Technique:	70 kVp, small focal spot

Measure:	Across the trapezius muscle at the base of the neck

If patient measures < 12 cm do not use grid, (non-bucky)

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient can be seated or standing (less motion if seated)

Begin with patient in same position as for neutral lateral.

Give directions to “tuck in chin and then look to floor”.

NEVER push them further.

Put them in this position just before making exposure, this position is uncomfortable!

Central ray:	Through C4 with film centered to this.

Collimation:	Laterally to behind the eyes and including all the spine, and film size vertically.

Marker:	L.

# EXPOSURE

# Patient directions: “Take a breath in, now blow it out.  Hold still, don’t move” – expose.

# EVALUATION CRITERIA: Cervical Flexion Lateral

- C1 through C7 should be entirely visualized.

- Mandibular rami should be superimposed over each other but not over upper cervicals.

- Optimum exposure should demonstrate soft tissue including margins of the air column, as well as proper bone density of the entire cervical vertebrae.

- Patient identification and L marker should be clearly visible without blocking anatomy.

# Cervical Extension Lateral

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (tall, flash down)

Tube:		72( FFD, no tube tilt

Technique:	70 kVp, small focal spot

Measure:	Across the trapezius muscle at the base of the neck

If patient measures < 12 cm do not use grid, (non-bucky)

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient can be seated or standing (less motion if seated)

Begin with patient in same position as for neutral lateral.

Give directions to “look up to ceiling as far as comfortable”.

NEVER push them further

Put them in this position just before making exposure, this position could cause vascular compromise!

Central ray:	Through C4 with film centered to this.

Collimation:	Laterally to soft tissue, and film size vertically.

Marker:	L.

# EXPOSURE

# Patient directions: “Take a breath in, now blow it out.  Hold still, don’t move” – expose.

# EVALUATION CRITERIA: Cervical Extension Lateral

- C1 through C7 should be entirely visualized.

- Mandibular rami should be superimposed over each other but not over upper cervicals.

- Optimum exposure should demonstrate soft tissue including margins of the air column, as well as proper bone density of the entire cervical vertebrae.

- Patient identification and L marker should be clearly visible without blocking anatomy.

# Swimmer’s Lateral

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (tall, flash down)

Tube:		40( FFD, 5º caudad tube tilt

Technique:	90 kVp, large focal spot (like for L/S)

Measure:	From right SCM to L axilla Place number in LAT L-Spine row

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, etc.

Keeping head parallel to film, slightly twist shoulders so that left arm reaches forward and up (approx.45(), right arm grasps posterior thigh with slight inferior traction.

Central ray:	Through C7 (vertebra prominens) with film centered to CR.

Collimation:	To film size.

Marker:	L.

# EXPOSURE

# Patient directions: “Take a breath in, now blow it out.  Hold still, don’t move” – expose.

# EVALUATION CRITERIA: Swimmer’s Lateral

- Vertebral rotation should appear to be minimal.

- C4 to T3 should be seen in profile.

- Humeral heads should be separated vertically.

- The magnified humeral head, which is farthest from the film, should appear distal to T4/T5.

- Patient identification and L marker should be clearly visible without blocking anatomy.

# R or L Pillar Views

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, LW (tall, flash down)

Tube:		40( FFD, 35º caudad tube tilt

Technique:	70 kVp, small focal spot

Measure:	through central ray at appropriate angle

If patient measures > 20 cm must use grid

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, etc.

Patient supine, slightly extend, and rotate head 45º to opposite side.

Put them in position just before making exposure, this position could cause vascular compromise.

Central ray:	Aim at C3/4 and center film to central ray.

(Note the angle)

Collimation:	Open to full cassette vertically, side-to-side half of cervical spine under study.

Marker:	Appropriate R or L marker.  Mark the contralateral side of rotation.

# EXPOSURE

# Patient directions: “Hold still, don’t move” – expose.

# EVALUATION CRITERIA:  Pillar View

- If patient is standing, imaging is performed P-A with a 35( cephalad tube tilt.

- Remember to adjust for tube tilt.

- All facet joints fromC1 to T1 should be visualized.

- Optimum exposure should demonstrate both bone and soft tissue density.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

- Indicated when the force of injury creates cervical extension with lateral flexion.

Section objectives:

At the conclusion of this course the student doctor should;

- Be able to efficiently conduct all parts of a thoracic spine series, chest series, rib series and ancillary views including determining the cassette size and orientation, setting of technical factors, patient positioning, placement of filters/shields, and giving patient instructions.

- Be able to identify the significant anatomy demonstrated on each view of the series.

# Standard Thoracic Spine Series – 3 views

- A-P thoracic

- Lateral thoracic

- P-A chest

# Standard Chest Series – 2 views

- P-A chest

- Lateral chest

# Standard Rib Series – 5 views

- A-P

- 30º, and 60º oblique

- Below diaphragm view

- P-A expiratory chest

# Optional Thoracic Spine, Chest, and Rib Views

- Apical lordotic chest view

- Swimmer’s lateral if C7/T1 junction is not seen

# A-P Thoracic

# PREPARE THE ROOM

Cassette:	black, 14( x 17(, lengthwise (tall, flash up)

Tube:		72( FFD (preferred), no tube tilt

Technique:	80 kVp, large focal spot

Measure:	Slide calipers over shoulder to rest on sternum and midline of the

back at about the level of T6 with patient in full inspiration

Filter/shield:	A-P thoracic filter on upper 1/3 to1/2 (T1-T7)

gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is standing facing the x-ray tube with the midsagittal plane centered to the central ray.

Central ray:	Top of the cassette should be placed about 1" above the vertebra

prominens, with central ray at mid sternum (~ T6 level)

Collimation:	Open to full cassette vertically, side-to-side to mid-clavicular line.

Marker:	R or L.

# EXPOSURE

# Patient directions: “Take a breath in, hold it.  Hold still, don’t move” – expose.

# EVALUATION CRITERIA: A-P Thoracic

- The spinal column from C7 to T12 should be seen centered in the midline of the film.

- Good collimation will include side collimation borders medial to female breast shadows.

- Sternoclavicular joints should be seen equidistant from the spine indicating no rotation.

- Optimum exposure including the use of a wedge filter in addition to the correct use of the anode-heel effect should clearly visualize the lower thoracic vertebral body margins and intervertebral joint spaces without overexposing the upper thoracic vertebra.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# Lateral Thoracic

# PREPARE THE ROOM

Cassette:	black, 14( x 17(, lengthwise (tall, flash up)

Tube:		72( FFD (preferred), no tube tilt

Technique:	90 kVp, small focal spot.  Small mA is required to make the time greater

than 1.0 second (1-2 second exposure), this allows for blurring of the ribs.

Measure:	From axilla to axilla.

Filter/shield:	Lateral thoracic filter on bottom ½ of film(T6-T12)                                         may require additional filters if muscular male

gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is standing in lateral position with mid-coronal plane centered to the bucky.

If patient has a lateral thoracic curve, place convexity to film, otherwise place left lateral against bucky.

Have patient place hands on top of the head, tuck elbows together.

Central ray:	Top of the cassette should be placed about 1" above the vertebra

prominens.  Set vertical portion of CR to posterior axillary line.

Collimation:	Open to full cassette vertically, laterally posterior ½ of the chest.

Marker:	L (usually).

# EXPOSURE

# Patient directions for breathing technique: “Take a deep breath in, now slowly blow it

out”.  Expose during exhale.

- Precise timing is required as the exposure is taken while the patient is exhaling, to blur the ribs out of the x-ray.

# EVALUATION CRITERIA: Lateral Thoracic

- The spinal column from C7 to T12 should be seen centered in the midline of the film.

- For some patients, the upper vertebra may be underexposed due to superimposition of the shoulders, this may require a lateral cervicothoracic spot shot.

- Intervertebral disc spaces should be open.

- Vertebral bodies should be in lateral profile without rotation as indicated by superimposed posterior ribs.

- Optimum exposure should demonstrate the thoracic spine with blurring of the ribs and lung markings.

- Patient identification and L marker (usually) should be clearly visible without blocking anatomy.

# P-A Chest

# PREPARE THE ROOM

# Cassette:	Insight, 14( x 17(, lengthwise (tall, flash up) for females

crosswise (wide, flash up) for males and obese pts.

Tube:		72( FFD , no tube tilt

Technique:	110 kVp, small focal spot, time < 0.1 second to minimize heart motion

Measure:	Slide calipers over shoulder to rest on sternum and midline of the

back at about the level of T6

Filter/shield:	gonad (½ apron)

# THE INSIGHT CASSETTE

The front and back screens are different; the front screen is designed to see the lungs, the

rear screen is designed to see the mediastinum, retrocardiac and subdiaphragmatic areas.  The film is specialty film identified by a double notch in one corner.

- The front screen identifies where the notches fit into the cassette.

- If reversed, it makes an undiagnostic radiograph.

- 350 speed film/screen combination.

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is standing facing the bucky with backs of hands on waist, head extended (preferred) or head turned to right.

If female, have her pull breast tissue laterally, get as close as possible to the bucky, then place hands on waist.

Patients should roll the shoulders forward to move the scapula laterally and out of the way.

Central ray:	Top of the cassette should be placed about 1" above the vertebra

prominens.

Collimation:	Open to full chest size vertically and laterally.

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Another deep

breath in and hold it.  Hold still, don’t move” – expose.

- Timing is  crucial, expose at the peak of the second inspiration.

# EVALUATION CRITERIA: P-A Chest

- The larynx and trachea should be filled with air and well visualized.

- There should be no rotation as evidenced by the symmetrical appearance of the sternoclavicular joints.

- Collimation borders should appear on all four sides with minimal borders on top and bottom.

- Optimum exposure should be dark enough to visualize the air filled trachea through the cervical and thoracic vertebra.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# P-A Expiratory Chest

Expiratory chest views accentuate a pneumothorax (if present) by decreasing the intrapulmonary pressure.  Technique is identical to usual P-A chest except expose on expiration instead of 2nd deep inspiration.

# Lateral Chest

# PREPARE THE ROOM

Cassette:	Insight, 14( x 17(, lengthwise (tall, flash up)

Tube:		72( FFD , no tube tilt

Technique:	115 kVp, small focal spot

Measure:	From latissimus dorsi bilaterally through the central ray.

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is standing with left side against bucky (heart closest to film) and weight evenly distributed on both feet.

Raise arms and place on top of head, keep chin up.

Central ray:	Top of the cassette should be placed about 1" above the vertebra

prominens.  Set vertical portion of CR to mid-axillary line.

Collimation:	Open to full cassette size vertically and side-to-side thoracic cavity.

Marker:	L.

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Another deep

breath in and hold it.  Hold still, don’t move” – expose.

- Timing is  crucial, expose at the peak of the second inspiration.

# EVALUATION CRITERIA: P-A Chest

- No rotation, ribs posterior to vertebral column should be directly superimposed; costophrenic angles should be aligned and superimposed.

- Chin and arms should be elevated sufficiently to prevent excessive soft tissues from superimposing lung apices.

- Images should include lung apices at the top, and costophrenic angles on the lower margin of the film.

- Collimation margins should appear on all four sides with T7 in center of film.

- No motion, should be evidenced by sharp outlines of the diaphragm and lung markings.

- Optimum exposure should demonstrate lung markings through the heart shadow and upper lung areas, without overexposing other regions of the lungs.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# A-P Lordotic Chest

# PREPARE THE ROOM

# Cassette:	Insight, 14( x 17

Tube:		72( FFD , no tube tilt

Technique:	110 kVp, small focal spot

Measure:	Slide calipers over shoulder to rest on sternum and midline of the

back at about the level of T6.  Same as P-A chest.

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is standing facing the tube about one foot away from the bucky.  Have patient lean back with shoulders, neck and back of head against the bucky.

Rest both hands on hips, palms facing out, roll shoulders forward.

Central ray:	Perpendicular to the film, centered to mid sternum (3-4 " below jugular

notch) with the cassette about 3-4" above the shoulders.

Collimation:	Collimate to include area of interest.

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Another deep

breath in and hold it.  Hold still, don’t move” – expose.

- Timing is  crucial, expose at the peak of the second inspiration.

# EVALUATION CRITERIA: A-P Lordotic Chest

- Clavicles should appear nearly horizontal and above or superior to apices.

- No rotation, sternal ends of the clavicles should be the same distance from vertebral column on each side.

- Lateral borders of the ribs on both sides should be near equidistant from the vertebral column.

- Center of collimation field should be mid-sternum with more collimation visible on the bottom.

- The ribs should appear distorted with the posterior portion nearly horizontal.

- No motion, diaphragm, heart and rib outlines should appear sharp.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# A-P (or P-A) Ribs

(Above Diaphragm)

# PREPARE THE ROOM

Cassette:	black, 14( x 17(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	70 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is standing (preferred) or supine facing the x-ray tube with mid-clavicular line centered to the bucky.

Raise chin and look straight ahead.

Central ray:	To T7 (3-4"below jugular notch) at approximately mid-clavicular line.  Center cassette to central ray.

Collimation:	Open to outer margins of the thorax.  We should see entire vertebral body and outer margins of the ribs.

Marker:	R or L.

# EXPOSURE

# Patient directions: “Take a deep breath in, hold it.  Hold still, don’t move” – expose.

# EVALUATION CRITERIA: A-P Rib

- The first through tenth ribs should be seen above the diaphragm.

- No motion is seen on the radiograph (blurring).

- No rotation of the thorax is evident.

- Optimum exposure should visualize ribs through the heart shadow without overexposing mid-posterior ribs through the lung fields.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

30º, 60º Oblique Rib

# PREPARE THE ROOM

Cassette:	black, 14( x 17(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	70 kVp, small focal spot

Measure:	through central ray at appropriate angle

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is standing (preferred) or supine with patient rotated into oblique position at appropriate angle.

- Injury to right anterior ribs perform RAO views.

- Injury to right posterior ribs perform RPO views.

- Injury to left anterior ribs perform LAO views.

- Injury to left posterior ribs perform LPO views.

Position patient arm so humerus does not obscure ribs.

Central ray:	Top of the cassette about 1.5 " above the shoulders, CR to T7 and about halfway between spine and lateral margin of affected side.

Collimation:	Open to outer margins of the thorax.  We should see entire vertebral body and outer margins of the ribs.

Marker:	R or L.

# EXPOSURE

# Patient directions: “Take a deep breath in, hold it.  Hold still, don’t move” – expose.

# EVALUATION CRITERIA: 30º, 60º Oblique Rib

- The first through eighth or ninth rib should be seen above the diaphragm.

- No motion is seen on the radiograph (blurring).

- Optimum exposure should visualize ribs through the heart shadow without overexposing mid-posterior ribs through the lung fields.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# Below Diaphragm (A-P) Ribs

# PREPARE THE ROOM

Cassette:	black, 10( x 12(, crosswise (wide, flash opposite side being imaged)

Tube:		40( FFD, no tube tilt

Technique:	90 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad (½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry, hairpins, glasses, bra, etc.

Patient is erect or supine with mid-clavicular line centered to bucky.

Central ray:	Midway between xiphoid and lower rib cage in mid-clavicular line.  Center the cassette to the central ray.

Collimation:	To cassette size with four sides of collimation.

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a breath in, blow it all the way out.  Hold still, don’t move” –

expose.

# EVALUATION CRITERIA: Below Diaphragm Rib

- The eighth through twelfth ribs and vertebra should be clearly seen.

- No motion is seen on the radiograph (blurring).

- No rotation of the thorax is evident.

- Optimum exposure should visualize ribs through the liver/visceral shadows.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

Section objectives:

At the conclusion of this course the student doctor should;

- Be able to efficiently conduct all parts of a 3 view L/S, 5 view L/S or

abdominal series and ancillary views including determining the cassette size

and orientation, setting of technical factors, patient positioning, placement of

filters/shields, and giving patient instructions.

- Be able to identify the significant anatomy demonstrated on each view of the series.

# Standard Lumbar Spine Series – 3 views

- A-P lumbar

- Lateral lumbar

- A-P L5/S1 spot shot (Ferguson’s view)

# Standard Lumbar Spine Series – 5 views

- A-P lumbar

- Lateral lumbar

- A-P L5/S1 spot shot (Ferguson’s view)

- R and L obliques (anterior or posterior)

# Seven view (Spondylolisthesis) Lumbar Series – 7 views

- A-P lumbar

- Lateral lumbar

- A-P L5/S1 spot shot (Ferguson’s view)

- R and L obliques (anterior or posterior)

- Traction/Compression Lateral Lumbar

# Abdominal Series – 1 view

- Kidney, Ureter, Bladder (KUB)

# Acute Abdomen Series – 3 views

- KUB (supine)

- KUB (erect)

- P-A Chest

# Optional Lumbar Spine and Abdomen Views

- Lateral L5/S1 spot shot

- Traction/Compression views

Ten Day Rule: Only perform nonessential direct radiography of the pelvic bowl in the 10 days following the onset of menses.  Have patient sign permission slip stating that she is within this time AND that she is not pregnant.  If she is outside of the 10 days, you may consider using a pregnancy test.  Be aware, however, these tests are NOT 100% sensitive.

Howe, JW and Yochum, TR.  X-Ray, Pregnancy, and Therapeutic Abortion: A Current Perspective.  ACA Journal of Chiropractic.  19(4):76-80.  April, 1985.

# A-P Lumbar

# PREPARE THE ROOM

Cassette:	black, 14( x 17(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	80 kVp, large focal spot

Measure:	through central ray

Filter/shield:	gonad; place bottom of velcro belt at greater trochanter of femurs.

This should place the bottom of the belt at the symphysis pubis.

- Female – use Cu heart, bottom of heart at bottom of belt.

Directly above the symphysis pubis.

- Male – use Pb triangle, top of triangle at bottom of belt

Directly below the symphysis pubis.

# PREPARE THE PATIENT

An enema will significantly improve visualization in the pelvic bowl.  It should be

administered immediately before the radiographic examination.

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

Patient is standing (preferred) or supine (especially if large) with midsagittal plane centered to bucky.

Standing comfortably with weight evenly distributed on both feet.

Arms hanging comfortably at side.

Central ray:	1" superior to iliac crests in midline.  Top of film at xiphoid process.

Collimation:	Open to full cassette vertically, side-to-side to include TP’s (about to the edge of the cross.

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Hold still,

don’t move” – expose.

- Expose on suspended respiration.

# EVALUATION CRITERIA: A-P Lumbar

- T11 through the sacrum should be clearly seen.

- SI joints should be equidistant from the spine, spinous processes should be in midline of vertebral bodies, and R and L transverse processes should be about equal in length, all indicating no rotation.

- The lateral margin should include the psoas muscle shadow.

- Optimum exposure should demonstrate both bone and soft tissue density.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# Lateral Lumbar

# PREPARE THE ROOM

Cassette:	black, 14( x 17(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	90 kVp, large focal spot

Measure:	at the level of the ASIS

Filter/shield:	gonad; Nolan system, use lateral lumbar shield (half circle) at level of ASIS

# PREPARE THE PATIENT

An enema will significantly improve visualization in the pelvic bowl.  It should be

administered immediately before the radiographic examination.

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

Patient is standing (preferred) or supine (especially if large) with midcoronal plane centered to bucky, and left side closest to the bucky.

(If patient is scoliotic place convexity to film side).

Standing comfortably with weight evenly distributed on both feet.

Arms folded on chest, elevate elbows.

Central ray:	Horizontal portion 1" superior to iliac crests in coronal plane, vertical portion of CR approximately through the greater trochanter of the femur.

Collimation:	Open to full cassette vertically, front-to-back to include SP’s.

Marker:	L (or R).

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Hold still,

don’t move” – expose.

- Expose on suspended respiration.

# EVALUATION CRITERIA: Lateral Lumbar

- T11 through the sacrum should be clearly seen in lateral profile and centered to the film.

- The lumbar intervertebral foramina should be visualized.

- Optimum exposure should demonstrate both cortical and trabecular bone densities of the vertebral bodies.

- Lumbar spinous processes should be visualized.

- Patient identification and L (or R) marker should be clearly visible without blocking anatomy.

# Ferguson’s A-P L5/S1 Spot Shot

# PREPARE THE ROOM

Cassette:	black, 10( x 12(, crosswise (wide, flash up)

Tube:		40( FFD, 35º tube tilt cephalad, lower tube to 33" from bucky.

- When the tube tilt is 20º or greater, move the tube 1" closer to the film for every 5º of tube tilt.

- To be precise, measure the actual angle on the lateral L/S and use this.

Technique:	80 kVp, large focal spot  Approximately 2X mAs from A-P lumbar.

Measure:	through central ray at the appropriate angle.

Filter/shield:	gonad for males, lay lead vinyl across the groin.  For females can’t use shielding

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

Patient is supine (preferred) or standing with midsagittal plane centered to table, place arms at side or folded upon chest.

Can place foam block under knees and pillow under head to make patient more comfortable.

Central ray:	Passes 1" below the transverse plane connecting the ASIS at appropriate angle, center the cassette to the central ray.

Collimation:	Open to cross both vertically and laterally (approx. 6" square).

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Hold still,

don’t move” – expose.

- Expose on suspended respiration.

# EVALUATION CRITERIA: Ferguson’s A-P L5/S1 Spot Shot

- L5/S1 joint space should be clearly seen and in center of exposure field and film.

- SI joints should be equidistant from spine, spinous processes should be in midline of vertebral bodies, R and L transverse processes should be about equal in length, all indicating no rotation.

- Optimum exposure should demonstrate both bone and soft tissue densities.

- Patient identification and R or L marker should be clearly visible without blocking anatomy.

# R or L Posterior Oblique

# PREPARE THE ROOM

Cassette:	black, 11( x 14(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	80 kVp, large focal spot

Measure:	through central ray

Filter/shield:	gonad (Pb vinyl or ½ apron)

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

Patient is supine (preferred) or standing at 45º angle with foam wedge block supporting shoulder and pelvis that are off the table.

Place arm across chest out of collimated field.

LPO has left side closest to film and RPO has right side closest.

Central ray:	1" above level of iliac crest passing through vertebral bodies (about 2" medial to ASIS).

Collimation:	Open to full cassette vertically, side-to-side to area of interest.

Marker:	RPO or LPO preferred.  Place marker in front of the spine.

R or L with 2 rules to follow.

- Right means right and left means left.

- Mark the side closest to the film.

# EXPOSURE

Patient directions: “Take a deep breath in, blow it all the way out.  Hold still,

don’t move” – expose.

# EVALUATION CRITERIA: R or L Posterior Oblique

- The spinal column from T11 to S1 should be clearly seen and in the midline of the film.

- “Scotty dogs” (zygapophyseal joints, TP’s, pedicles, pars interarticularis and lamina of side closest to the film) should be seen on all five L/S vertebra.

- The pedicles (“eye” of the dog) should be seen in the middle of the vertebral body.

- Optimum exposure should demonstrate both bone and soft tissue densities.

- Patient identification and R or L marker should be clearly visible without blocking anatomy.

# NOTE: R and L Anterior oblique visualize side farther away from film but show greater

structural detail because the lumbar lordosis compliments the diverging x-ray beam.

For anterior oblique views place marker behind spine.

# L5/S1 Spot Shot Lateral

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	90 kVp, large focal spot

Measure:	through central ray

Filter/shield:	gonad; Nolan system, use lateral lumbar shield (half circle) at level of ASIS

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

Patient is recumbent (preferred) or standing with midcoronal plane centered to bucky, and left side closest to the bucky.

Arms folded on chest.

Central ray:	1" inferior to iliac crests in coronal plane. Middle of the film should be approximately through the greater trochanter of the femur.

Collimation:	Six inch by six inch collimation area.

Marker:	L

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Hold still,

don’t move” – expose.

- Expose on suspended respiration.

# EVALUATION CRITERIA: L5/S1 Spot Shot Lateral

- L4 through the sacrum should be clearly seen in lateral profile and centered to the film.

- The purpose of this view is to show L5/S1 disc space in lateral projection.

- The lumbar intervertebral foramina at L5/S1should be visualized.

- Optimum exposure should demonstrate both cortical and trabecular bone densities of the vertebral bodies, and the lumbar spinous processes.

- Patient identification and L marker should be clearly visible without blocking anatomy.

# Compression Lateral

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	90 kVp, large focal spot

Measure:	through central ray

Filter/shield:	gonad; Nolan system, use sacral shield at level of ASIS

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

A 50 pound backpack is placed on patient and patient should then walk for 5 minutes.  If pain increases during time, immediately take film.

Patient is standing with midcoronal plane centered to bucky, and left side closest to the bucky (unless scoliotic, then convexity to film side) still wearing backpack.

Patient standing with weight evenly distributed on both feet.

Arms folded on chest.

Central ray:	1" inferior to iliac crests in coronal plane. Middle of the film should be approximately through the greater trochanter of the femur.

Collimation:	Six inch square area.

Marker:	L (or R).

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Hold still,

don’t move” – expose.

- Expose on suspended respiration.

- Now remove the backpack.

# EVALUATION CRITERIA: Compression Lateral

- T11 through the sacrum should be clearly seen in lateral profile and centered to the film.

- The backpack will be seen.

- This view is taken to see if anterolisthesis increases with increases weight bearing.

- The lumbar intervertebral foramina should be visualized.

- Optimum exposure should demonstrate both cortical and trabecular bone densities of the vertebral bodies, and the lumbar spinous processes.

- Patient identification and L marker should be clearly visible without blocking anatomy.

# Traction Lateral

# PREPARE THE ROOM

Cassette:	black, 8( x 10(, lengthwise (tall, flash up)

Tube:		40( FFD, no tube tilt

Technique:	90 kVp, large focal spot

Measure:	through central ray

Filter/shield:	gonad; Nolan system, use lateral lumbar shield (half circle) at level of ASIS

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

The patient hangs by their arms from a bar that is suspended over the top of the bucky.

Hang with midcoronal plane centered to bucky, and left side closest to the bucky (unless scoliotic, then convexity to film side).  Ideally this will also take place for 5 minutes then expose film while still hanging.

Central ray:	1" inferior to iliac crests in coronal plane. Middle of the film should be approximately through the greater trochanter of the femur.

Collimation:	Six inch square area.

Marker:	L (or R).

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Hold still,

don’t move” – expose.

- Expose on suspended respiration.

- Now they can stop hanging and stand up.

# EVALUATION CRITERIA: Traction Lateral

- T11 through the sacrum should be clearly seen in lateral profile and centered to the film.

- The lumbar intervertebral foramina should be visualized.

- Optimum exposure should demonstrate both cortical and trabecular bone densities of the vertebral bodies, and the lumbar spinous processes.

- Patient identification and L marker should be clearly visible without blocking anatomy.

# TRACTION & COMPRESSION LATERAL

- Translation of the spondylolisthetic segment will be compared from the traction to the compression views.  If it is greater than 4mm, it is unstable.

# Kidney, Ureter, Bladder (KUB)

# PREPARE THE ROOM

Cassette:	black, 14( x 17(, lengthwise (tall, flash down)

Tube:		40( FFD, no tube tilt

Technique:	70 kVp, large focal spot

Measure:	through central ray

Filter/shield:	gonad

- Female – usually can’t be filtered because of obscuring anatomy.

- Male – use Pb triangle

# PREPARE THE PATIENT

Position:	Patient is fully gowned with no jewelry (ask about belly button ring),

bra, metal fasteners on underwear, etc.

Patient is supine with knees bent and midsagittal plane centered to table.

If erect KUB is requested to demonstrate air-fluid levels, patient is centered to bucky like in A-P lumbar.

Central ray:	Level with iliac crests (if full vertical collimation will include pubic symphysis).

Collimation:	Open to full cassette vertically, laterally to edge of soft tissues.

Marker:	R just above R iliac crest.

# EXPOSURE

Patient directions: “Take a deep breath in, now blow it all the way out.  Hold still,

don’t move” – expose.

- Expose on suspended respiration.

- Note: phase of respiration depends on patient height.  Small patient suspended expiration, tall patient suspended inspiration.

# EVALUATION CRITERIA: KUB

- The lower margin of film should include the superior portion of the arch of the

symphysis pubis.

- The upper abdomen should be included visualizing the top of the diaphragm, upper margins of the kidneys as well as the lower portion of the dense liver and the area of the spleen.

- Note: a tall, asthenic person may require 2 radiographs to include both areas listed above.

- No rotation: the vertebral column should be in midline and the iliac wings should be equal in size and shape.

- No motion: should be evidenced by sharp gas bubbles.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# Section objectives: Hip Series

At the conclusion of this course the student doctor should;

- Be able to efficiently conduct all parts of a 1 view pelvis and a 3 view hip series including determining the cassette size and orientation, setting of technical factors, patient positioning, placement of filters/shields, and giving patient instructions.

- Be able to identify the significant anatomy demonstrated on each view of the series.

# Standard Pelvis Series – 1 view series

- A-P Pelvis

# Standard Hip Series – 3 view series

- A-P Pelvis

- A-P Spot Hip

- Lateral Hip (Frogleg)

# A-P Pelvis

# PREPARE THE ROOM

Cassette:	black; 14" x 17", CW (flash up)

Tube:		40" FFD, no tube tilt

Technique:	80 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad for males (Pb vinyl), not possible for females

# PREPARE THE PATIENT

Position:	R or L, patient is fully gowned.

Patient standing or supine (preferred) with midsagittal plane centered to midline of the table.

Both legs are rotated 15( medially to provide true AP of femora.

The film is placed so that its top edge is 1" above the iliac crests.

Central ray:	Perpendicular to film directed at the middle of the cassette.(~S3-S4)

Collimation:	Open to full cassette vertically, side-to-side soft tissue.

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a deep breath in, blow it all the way out.  Now hold still,

don’t move” – expose.

# EVALUATION CRITERIA: A-P Pelvis

- Proximal femora should be included in their entirety as well as bilateral pubis, ischium and at least the distal half of the ilium.

- No rotation: the two obturator foramina and the bilateral ischial spines (if visible) should appear equal in size and shape.

- Optimum exposure should demonstrate both bone and soft tissue density.

- Patient identification should be clear and legible, R/L marker should be clearly visible on lateral border without superimposing anatomy.

# A-P Spot Hip

# PREPARE THE ROOM

Cassette:	black; 10" x 12", LW (flash lateral)

Tube:		40" FFD, no tube tilt

Technique:	74 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad (Pb vinyl), females can shield contralateral side

# PREPARE THE PATIENT

Position:	R or L, patient is fully gowned.

Patient standing or supine(preferred) with midfemoral neck of affected side in center of table.

The entire leg is rotated 15(medially to provide true AP of femur.

Central ray:	Perpendicular to film, through the midfemoral neck.  This is determined by aiming at the femoral pulse.  Center the film to the central ray.

Collimation:	Open to full cassette vertically, side-to-side to soft tissue.

Marker:	R or L.

# EXPOSURE

# Patient directions: “Hold still, don’t move” – expose.

# EVALUATION CRITERIA: A-P Spot Hip

- The proximal one third of the femur should be visualized along with the acetabulum and adjacent parts of the pubis, ischium and ilium.  The hip joint space, including the lateral borders of the femoral head should be clearly visualized.

- The lesser trochanter should not project beyond the medial border of the femur at all or only its very tip is seen with sufficient internal rotation of the leg, indicating the greater trochanter, femoral head and neck are seen in full profile without foreshortening.

- Optimum exposure should demonstrate both bone and soft tissue density.

- Patient identification should be clear and legible, R/L marker should be clearly visible on lateral border without superimposing anatomy.

# Lateral Hip (Frogleg)

# PREPARE THE ROOM

Cassette:	black; 10" x 12", LW (flash up)

Tube:		40" FFD, no tube tilt

Technique:	74 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad (Pb vinyl), females can shield contralateral side

# PREPARE THE PATIENT

Position:	R or L, patient is fully gowned.

Patient standing or supine (preferred) with midfemoral neck of affected side in center of table.

The leg is externally rotated and the heel is placed in the contralateral popliteal fossa.  This creates a “figure 4” appearance.

If the femur is not flat, place a positioning block under the contralateral side so that the patient can place their femur flat on the table

Central ray:	Perpendicular to film, through the midfemoral neck.  This is determined by aiming at the femoral pulse.  Center the film to the central ray.

Collimation:	Open to full cassette vertically, side-to-side to soft tissue.

Marker:	R or L.

# EXPOSURE

# Patient directions: “Hold still, don’t move” – expose.

EVALUATION CRITERIA: Lateral Hip (Frogleg)

- The proximal one third of the femur should be visualized along with the hip joint and acetabulum.

- The greater trochanter will superimpose most of the femoral neck area.

- The lesser trochanter will be partially seen more distally than the greater trochanter projecting beyond the lower or medial margin of the femur.

- Optimum exposure should demonstrate both bone and soft tissue density.

Patient identification should be clear and legible, R/L marker should be clearly visible on lateral border without superimposing anatomy.

# Section objectives: Sacrum and Coccyx Series

At the conclusion of this course the student doctor should;

- Be able to efficiently conduct all parts of a 2 view sacral and a 2 view coccyx series including determining the cassette size and orientation, setting of technical factors, patient positioning, placement of filters/shields, and giving patient instructions.

- Be able to identify the significant anatomy demonstrated on each view of the series.

# Standard Sacral Series – 2 view series

- A-P Sacrum

- Lateral Scrum

# Standard Coccyx Series – 2 view series

- A-P Coccyx

- Lateral Coccyx

# A-P Sacrum

# PREPARE THE ROOM

Cassette:	black; 10" x 12", crosswise (wide, flash down)

Tube:		40" FFD, 15º cephalad tube tilt

Technique:	80 kVp, small focal spot

Measure:	through central ray at appropriate angle

Filter/shield:	gonad for males (Pb vinyl), not possible for females

# PREPARE THE PATIENT

An enema is required and will significantly improve visualization in the pelvic bowl.

It should be administered immediately before the radiographic examination.

Position:	R or L, patient is fully gowned.

Patient supine with midsagittal plane centered to midline of the table.

Central ray:	2" above the symphysis pubis.  Center cassette to central ray.

Collimation:	11" x 9", to area of interest.

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a deep breath in, blow it all the way out.  Now hold still,

don’t move” – expose.

# EVALUATION CRITERIA: A-P Sacrum

- Sacrum should be centered and seen in its entirety, free of foreshortening with the sacral curvature straightened.

- Pubic bones should not be overlapping the sacrum.

- Tight collimation evident to improve the radiographic contrast, short scale contrast seen.

- Patient identification should be clear and legible, R/L marker should be clearly visible on lateral border without superimposing anatomy.

# Lateral Sacrum

# PREPARE THE ROOM

Cassette:	black; 10" x 12", lengthwise (tall, flash up)

Tube:		40" FFD, no tube tilt

Technique:	80 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad, Pb vinyl

Place lead vinyl on table behind patient to reduce scatter on film.

# PREPARE THE PATIENT

An enema will significantly improve visualization in the pelvic bowl.  It should be

administered immediately before the radiographic examination.

Position:	L, patient is fully gowned, with no jewelry, metal fasteners 	on

underwear, etc.

Patient is recumbent with midcoronal plane centered to bucky, and left side closest to the bucky.  Arms folded on chest.

Have patient flex hips and knees to a comfortable position, radiolucent sponge/support under lumbar spine.

If needed place positioning sponges under knees/legs to reduce coronal rotation of sacrum/pelvis.

Central ray:	1" below PSIS, and 2" anterior to posterior sacral surface.

Center cassette to central ray.

Collimation:	9" x 11", to area of interest.

Marker:	L.

# EXPOSURE

Patient directions: “Take a deep breath in, blow it all the way out.  Now hold still,

don’t move” – expose.

# EVALUATION CRITERIA: Lateral Sacrum

- Use of tight collimation and a lead vinyl absorber to reduce primary beam leak and scatter.

This will improve radiographic contrast.

- Sacrum should be centered and seen in its entirety, short scale contrast evident.

- Closely superimposed posterior margins of the ischia and ilia.

- Patient identification should be clear and legible, L marker should be clearly visible on lateral border without superimposing anatomy.

# A-P Coccyx

# PREPARE THE ROOM

Cassette:	black; 8" x 10", lengthwise (tall, flash up)

Tube:		40" FFD, 10º caudal tube tilt

Technique:	70 kVp, small focal spot

Measure:	through central ray at appropriate angle

Filter/shield:	gonad for males (Pb vinyl), not possible for females

# PREPARE THE PATIENT

An enema is required and will significantly improve visualization in the pelvic bowl.

It should be administered immediately before the radiographic examination.

Position:	R or L, patient is fully gowned.

Patient supine with midsagittal plane centered to midline of the table.

Central ray:	2" above the symphysis pubis.  Center cassette to central ray.

Collimation:	~ 4"x 4", to area of interest.

Marker:	R or L.

# EXPOSURE

Patient directions: “Take a deep breath in, blow it all the way out.  Now hold still,

don’t move” – expose.

# EVALUATION CRITERIA: A-P Coccyx

- Coccyx should be centered and seen in its entirety.

- Coccygeal segments should not be superimposed.

- Tight collimation evident to improve radiographic visibility, short scale contrast seen.

- Patient identification should be clear and legible, R/L marker should be clearly visible on lateral border without superimposing anatomy.

# Lateral Coccyx

# PREPARE THE ROOM

Cassette:	black; 8" x 10", lengthwise (tall, flash up)

Tube:		40" FFD, no tube tilt

Technique:	80 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad, Pb vinyl

Place lead vinyl on table behind patient to reduce scatter on film.

# PREPARE THE PATIENT

An enema will significantly improve visualization in the pelvic bowl.  It should be

administered immediately before the radiographic examination.

Position:	L, patient is fully gowned, with no jewelry, metal fasteners 	on

underwear, etc.

Patient is recumbent with midcoronal plane centered to bucky, and left side closest to the bucky.  Arms folded on chest.

Have patient flex hips and knees to a comfortable position, radiolucent sponge/support under lumbar spine.  If needed place positioning sponges under knees/legs to reduce coronal rotation of coccyx/pelvis.

Central ray:	Palpate coccyx and position central ray accordingly.

Center cassette to central ray.

Collimation:	~ 5"x 5", to area of interest.

Marker:	L.

# EXPOSURE

Patient directions: “Take a deep breath in, blow it all the way out.  Now hold still,

don’t move” – expose.

# EVALUATION CRITERIA: Lateral Coccyx

- Use of tight collimation and a lead vinyl absorber to reduce primary beam leak and scatter.

This will improve radiographic contrast.

- Coccyx should be centered and seen in its entirety, short scale contrast evident.

Patient identification should be clear and legible, L marker should be clearly visible on lateral border without superimposing anatomy.

# Section objectives: Sacroiliac Joint Series

At the conclusion of this course the student doctor should;

- Be able to efficiently conduct all parts of a 2 view sacroiliac joint series including determining the cassette size and orientation, setting of technical factors, patient positioning, placement of filters/shields, and giving patient instructions.

- Be able to identify the significant anatomy demonstrated on each view of the series.

# Standard Sacroiliac Joint Series – 2 view series

- Right Posterior Oblique (left SI joint)

- Left Posterior Oblique (right SI joint)

# Or

- Right Anterior Oblique (right SI joint)

- Left Anterior Oblique (left SI joint)

# Note:	Posterior oblique imaging visualizes the side farthest from the film and anterior oblique

imaging visualizes the side closest to the film.

# Posterior Oblique Sacroiliac (SI) Joint

# PREPARE THE ROOM

Cassette:	black; 8" x 10", lengthwise (tall, flash up)

Tube:		40" FFD, no tube tilt

Technique:	75 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad, Pb vinyl for males, difficult to shield for females

# PREPARE THE PATIENT

# Position:	R or L, patient is fully gowned, with no jewelry, metal fasteners on

underwear, etc.  Patient is in supine position with head supported.

Elevate the side being examined approximately 25-30º, support the

shoulder, lower thorax, and upper thigh.  Adjust the position of the

elevated thigh to place the ASIS in the same horizontal plane.  Place the

arms in a comfortable position and adjust shoulders to lie in the same

horizontal plane.  Place supports under the knee to elevate it to hip level if

needed.

Central ray:	1" medial to the elevated ASIS, center cassette to level of the ASIS.

Collimation:	~ 7"x 9", to area of interest.

Marker:	RPO or LPO (R or L).

EXPOSURE:	Patient directions: “Take a deep breath in, blow it all the way out.  Now hold still,

don’t move” – expose.

# EVALUATION CRITERIA: Sacroiliac Joint Posterior Oblique

- The radiographic image will demonstrate the SI joint farthest from the film and an oblique projection of adjacent structures.

- Open SI joint space with minimal overlapping of the ilium and sacrum.

- SI joint centered on the radiograph, both sides are examined for comparison.

Patient identification should be clear and legible, marker should be clearly visible on lateral border without superimposing anatomy.

# Anterior Oblique Sacroiliac (SI) Joint

# PREPARE THE ROOM

Cassette:	black; 8" x 10", lengthwise (tall, flash up)

Tube:		40" FFD, no tube tilt

Technique:	75 kVp, small focal spot

Measure:	through central ray

Filter/shield:	gonad, Pb vinyl for males, difficult to shield for females

# PREPARE THE PATIENT

# Position:	R or L, patient is fully gowned, with no jewelry, metal fasteners on

underwear, etc.  Patient is in a semi-prone position with head supported.

Elevate side opposite being examined approximately 25-30º, check degree of rotation at several points along the anterior surface of the body.  Have the patient rest on the forearm and flexed knee of the elevated side.

Place supports under the ankles and under the flexed knee.

Central ray:	Center to PSIS closest to table.

Center cassette to central ray.

Collimation:	~ 7"x 9", to area of interest.

Marker:	RAO or LAO (R or L).

EXPOSURE:	Patient directions: “Take a deep breath in, blow it all the way out.  Now hold still,

don’t move” – expose.

# EVALUATION CRITERIA: Sacroiliac Joint Anterior Oblique

- The radiographic image will demonstrate the SI joint closest to the film and an oblique projection of adjacent structures.

- Open SI joint space with minimal overlapping of the ilium and sacrum.

- SI joint centered on the radiograph, both sides are examined for comparison.

Patient identification should be clear and legible, marker should be clearly visible on lateral border without superimposing anatomy.

Section Objectives: Full Spine

At the conclusion of this course the student doctor should;

- Be able to efficiently conduct a full spine series including determining the cassette size and orientation, setting of technical factors, patient positioning, placement of filters/shields, and giving patient instructions.

- Be able to identify the significant anatomy demonstrated on each view of the series.

- Be conversant about the limitations of the full spine study.

# Postural Series

- Full Spine A-P (FSAP)

- Full Spine Lateral (FSL)

# Scoliosis Series

- FSAP

- Recumbent A-P of curvature

- Recumbent forced lateral bending, R and L

- P-A left hand

# Full Spine A-P (FSAP)

# PREPARE THE ROOM

# Cassette:	black, 14( x 36(, LW

Tube:		72( FFD, no tube tilt

Technique:	70 kVp, large focal spot

Measure:	3 sites to measure;

- through neck

- through chest on sternum

- through full thickness of abdomen

Use largest of the three for autotech or Super Tech calculation.

Filter/shield:	Clear Pb system.

- Paraspinals; the bottom should be 1" above iliac crests and separated to see tips of the transverse processes.

- AP/PA; from top of cross upward.

- Thick build up; from lower edge of mandible down.

- Gonad; Pb shield for males, Cu heart for females.

Nolan system.

- Paraspinals; the bottom should be to bottom of breasts (be careful with scoliotic patients)

- Use chart to determine total points of filtration required but always use 5 pt wedge from bottom of mandible down.  Slightly stagger other filters to prevent harsh lines on radiograph.

- Gonad; Pb shield for males, Cu heart for females.

# PREPARE THE PATIENT

Position:	Patient is fully gowned, shoes on, no jewelry (ask about belly button ring),

watches, hairpins, glasses, bra, metal fasteners on underwear, etc.

Set the cassette so that the bottom of the cassette is below the ischial tuberosities.

Patient should bend forward at the waist and align the 2nd sacral tubercle to midline of film/cassette.

Have patient extend head slightly.

Collimation:	Open to below mandible but be certain ischial tuberosities are in beam.

If not, adjust tube height accordingly.  Side-to-side to edge of trochanters.

Marker:	R or L.

# EXPOSURE

# Patient directions: “Take a breath in and blow it out.  Hold still, don’t move” – expose.

EVALUATION CRITERIA: Full Spine A-P (FSAP)

- Ischial tuberosities must be on the film (if dens is not seen, perform APOM).

- Pubic symphysis and midline gluteal cleft should superimpose (means pt. was not rotated) and be over midline lead reference line.

- Base of dens should be fully visualized and vertebra should be demonstrated.

- Patient identification and R/L marker should be clearly visible without blocking anatomy.

# Full Spine Lateral (FSL)

# PREPARE THE ROOM

# Cassette:	black, 14( x 36(, LW

Tube:		72( FFD, no tube tilt

Technique:	100 kVp, large focal spot

Measure:	3 sites to measure;

- through neck

- from axilla to axilla

- through widest part of hips

Use largest of the three for autotech or Super Tech calculation.

Filter/shield:	Clear Pb system.

- Paraspinals; first one blocking the eyes and breasts in front of patient, second one behind pt acting as support for other shields.

- Lateral cervical AND thick build-up from acromion up.

- Lateral thoracic from lowest part of axilla down.

- Gonad; big Mickey (upside down) at approximately ASIS.

Nolan system.

- Lateral cervical to top of shoulder.

- Lateral thoracic put in same slot as lateral cervical except up from the bottom to meet lateral cervical.

- Lateral lumbar/lung even with lateral thoracic.

- Gonad; lateral gonad even with ASIS (arc posterior)

# PREPARE THE PATIENT

Position:	Patient is fully gowned, shoes on, no jewelry (ask about belly button ring),

watches, hairpins, glasses, bra, metal fasteners on underwear, etc.

Usually L lateral but if pt has a major convexity, place it closest to film.

Set the cassette 2" above the top of the ear..

Midline of film/cassette should go through the greater trochanter.

Have forearms resting on support in front of the body.

Central ray:	At about  T6.

Collimation:	Open to full cassette vertically, set cassette to top of ear, side-to-side to

posterior skin line.

Marker:	L (usually).

# EXPOSURE

# Patient directions: “Take a deep breath in and hold.  Hold still, don’t move” – expose.

EVALUATION CRITERIA: Full Spine Lateral (FSL)

- Dens and sacral base must be on film.

- ASIS should be parallel to midline lead reference line (this means pt was not rotated).

- All vertebra should be demonstrated.

- Patient identification and L marker should be clearly visible without blocking anatomy.

Suggested further reading:

Taylor, J.  Full Spine Radiography: A Review.  JMPT (1993) V16(7); 460-474.